- In addition to standards, the NFPA publishes _____ to help interpret the standards. (262)

- Types of building construction are differentiated by the type of construction materials and (264)

- Which construction type provides the highest level of protection against structural collapse?  (264)

- In Type I construction, where is fire extension more likely to occur?  (265)

- In Type III construction, what is a tactical consideration related to void spaces inside wooden channels?  (266)

- In Type IV construction, what helps prevent unseen fire travel within the building? (266)

- What is the main framing material used in Type V construction?  (267)

- What does vinyl siding contribute to the structural fire load in Type V construction?  (267)

- According to an NFPA analysis of fires in residential occupancies, what has contributed to the reduction in fire loss in manufactured homes since 1980?  (269)

- What distinguishes modular homes from other factory-built structures?  (269)

- Occupancy classifications are determined based on _____, number of occupants, and egress limitations (270)

- What type of occupancy is used for the gathering of 50 or more persons?  (270)

- Structures used for special handling, packaging, labeling, sorting, or other needs that exceed typical storage occupancies are classified as (274)

- What does the term "mixed occupancy" refer to?  (275)

- In the case of buildings with multiple-use occupancies, what does NFPA 101®, Life Safety Code® recommend regarding meeting code requirements?  (276)

- What is essential for a water supply in an automatic sprinkler system?  (280)

- What does the appearance of isolated flames within the hot gas layer sometimes indicate?  (284)

- What happens as the neutral plane descends toward the floor during a ventilation-limited fire? (285)

- How does rollover contribute to flashover conditions?  (287)

- What is flashover in the context of fire development?  (287)

- In a ventilation-limited fire, what can happen when a new source of oxygen is introduced?  (290)

- What are the three mechanisms by which heat can transfer from one object to another? (291)

- What is convection in the context of heat transfer?  (292)

- In a structure fire, the flow path is composed of two regions (295)

- How does an open floor plan space potentially contribute to fire spread?  (303)

- Which is a characteristic of older residential structures (prior to approximately 1990)? (304)

- What is the most effective means of establishing awareness of hazards in commercial, industrial, and storage facilities with large fuel loads?  (305)

- Why might pre-incident surveys be important for firefighters dealing with bowstring truss structures?  (307)

- Why might a soft or sagging roof not be considered the only sign of imminent collapse in a modern home with engineered joists? (306)

- What can make determining the extent of fire development more difficult in structures with high ceilings?  (305)