- What role do ordinances play in the adoption of national model building and fire codes and standards?  (259)

- What is the term used to describe the set of requirements in model codes?  (260)

- What are consensus standards?  (261)

- Types of building construction are differentiated by the type of construction materials and:  (264)

- Which construction type provides the highest level of protection against structural collapse?  (264)

- What does vinyl siding contribute to the structural fire load in Type V construction?  (267)

- According to an NFPA analysis of fires in residential occupancies, what has contributed to the reduction in fire loss in manufactured homes since 1980?  (269)

- What distinguishes modular homes from other factory-built structures?  (269)

- Occupancy classifications are determined based on _____, number of occupants, and egress limitations.  (270)

- What type of occupancy is used for the gathering of 50 or more persons?  (270)

- What are the three subdivisions of industrial occupancies according to NFPA?  (272)

- What does the term "mixed occupancy" refer to?  (275)

- In the case of buildings with multiple-use occupancies, what does NFPA 101®, Life Safety Code® recommend regarding meeting code requirements?  (276)

- In the context of incidental-use areas, which of the following is a requirement for doors leading into these areas?  (277)

- In the context of incidental-use areas, which of the following is a requirement for doors leading into these areas?  (279)

- What is essential for a water supply in an automatic sprinkler system?  (280)

- The occupancy classification and the _____ determine the minimum water flow required for an automatic sprinkler system (280)

- What does the appearance of isolated flames within the hot gas layer sometimes indicate?  (284)

- What is flashover in the context of fire development?  (287)

- In a ventilation-limited fire, what can happen when a new source of oxygen is introduced?  (290)

- What are the three mechanisms by which heat can transfer from one object to another?  (291)

- How does an open floor plan space potentially contribute to fire spread?  (303)

- What contributes to the spread of fire and smoke in open-plan commercial structures, such as warehouse-style stores?  (304)

- What is the most effective means of establishing awareness of hazards in commercial, industrial, and storage facilities with large fuel loads?  (305)

- Why might a soft or sagging roof not be considered the only sign of imminent collapse in a modern home with engineered joists?  (306)